## Slide 1
Regelen en beveiligen in DC netten, problemen of kansen? Peter van Duijsen The Hague University of Applied Sciences
Notes: <number>

## Slide 2
Contents
DC grid structure
Control
Switching
Protection
Stability
Notes: <number>

## Slide 3
DC grid structure?
Structure of the DC Grid
Notes: <number>

## Slide 4
Why do we need a DC Grid? Lower losses is not the reason why we choose DC!
Notes: <number>

## Slide 5
It is not about optimizing components It is optimizing the system!
Notes: <number>

## Slide 6
Which grid to choose?
Centralized
Decentralized
Notes: <number>

## Slide 7
Centralized DC Grid with Grid Manager
All control in one device
Control of Power
Breaker
Inrush limiter
Notes: <number>

## Slide 8
Decentralized DC Grid with Droop Control
Droop control per appliance
DCDC converter per appliance
Notes: <number>

## Slide 9
Connection to existing AC Grid?
Notes: <number>

## Slide 10
Producers and Consumers are directly coupled
Notes: <number>

## Slide 11
Exchange of Drive and Brake Energy
Notes: <number>

## Slide 12
Switching in the DC grid?
What type of switches do exist,
if they do exist at all?
Notes: <number>

## Slide 13
Grid Manager contains multiple Synchronous Buck Converters
power flow
Current Limited
Breaker
Non-Isolated
Notes: <number>

## Slide 14
Dual Active Bridge is Isolated
Bidirectional power flow
Current Limited
Breaker
Isolated
DC transformer
Notes: <number>

## Slide 15
Connecting two DC grid with different voltage levels
Notes: <number>

## Slide 16
Inrush protection using a Sepic converter
Controlled current flow
Input Impedance is controlled
Notes: <number>

## Slide 17
Switching Inrush protection Low side mosfet for inrush protection
Notes: <number>

## Slide 18
DC grid control?
Control and Power Congestion Management
in the DC Grid
Notes: <number>

## Slide 19
Control the current in a Meshed grid
Nodal voltage defines current flow
DCDC converters have losses
Notes: <number>

## Slide 20
Droop Control regulates in a decentralized grid
Controlled current flow per appliance
Islanding operation
No communication required
Notes: <number>

## Slide 21
DC grid selectrivity and protection?
Protection and/or selectivity
in the DC Grid?
Notes: <number>

## Slide 22
When grounding, the DC grid has to be isolated from the AC grid
Notes: <number>

## Slide 23
Grid system?
You can choose an isolated Grid IT to implement earth leakage detection,
but your grid is floating!
Notes: <number>

## Slide 24
Grid system?
You can choose an isolated Grid IT to implement earth leakage detection,
but your grid is floating!
Notes: <number>

## Slide 25
Fuse?
Notes: <number>

## Slide 26
Fuse?
Notes: <number>

## Slide 27
RoCoC Rate of Change of Current
Notes: <number>

## Slide 28
DC grid stability?
How to predict and ensure stability in the
DC Grid
Notes: <number>

## Slide 29
Static stability depends in Droop Control Characteristics
Droop characteristic
per appliance
Low Bandwidth
Stand alone operation
Notes: <number>

## Slide 30
Dynamic stability depends on input and output impedance
Zout < Zin
Middlebrooks Stability Criterion
Notes: <number>

## Slide 31
DC Grid: Protect or Control?
Centralized or Decentralized
Control
Protection
Stability
Thanks for your attention!
Notes: <number>

## Slide 32
Conclusion: DC Grid: Protect or Control?
Centralized or Decentralized
Control
Protection
Stability
Thanks for your attention! www.dc-lab.org
Notes: <number>